## Slide 1
Wenming Qin
National Facility for Protein Science in Shanghai (NFPSS)
/Shanghai Synchrotron Radiation Facility (SSRF)
November, 2024
MXCuBE | LIMS site report

## Slide 2: Shanghai Synchrotron Radiation Facility
SSRF Ring Parameters
Electron Energy：3.5 GeV
Electron Current: 300 mA
Circumference: 432 m
Straight sections: 20
Soft X-ray Free Electron Laser
Hard X-ray Free Electron Laser
SSRF

## Slide 3: National Facility for Protein Science . Shanghai
NFPS passed the National Acceptance Review, and formally opened to the users in July 2015.
NFPS is composed of 9 technology systems with state-of-the-art instruments in its Haike Road Campus and 5 Beamlines within the Shanghai Synchrotron Radiation Facility.

## Slide 4: MX Beamlines at SSRF
6 MX Beamlines
BL17B
BL18U1
BL19U1
BL17UM
BL02U1
BL10U1
NFPSS
Shanghai Tech
SSRF
MXCube

## Slide 5: MXCUBE Status
Version of mxcubecore
BL17B : version from 2022.2.23
BL18U : version from 2023.4.9
BL19U1: version from 2023.4.9

## Slide 6: MXCUBE Status
Other development
  Integrate Actor sample changer into mxcube.
  Use EPICS to control the Pilatus detector.

## Slide 7: MXCUBE Status
Other development
  Auto update diffraction pattern in adxv / Braggy.
  Deploy four types of auto processing pipeline.

## Slide 8: MXCUBE Status
Cybersecurity (virtual machine)
  Use VMware to run mxcube and ispyb, take snapshot for insurance.

## Slide 9: MXCUBE Status
Cybersecurity (other measures)
  Most of servers in beamline only connect to the internal network.
  Regular backs up users’ data.

## Slide 10: Developments since last meeting
Deploy MD2 computer into virtual machine

## Slide 11: Developments since last meeting
Configure and make characteristic collection available in bl19u1.
( Maybe because that the method we use to control detector from mxcube is through epics,
we found the original code was not suitable ,so we rewrite most of code related to this function.)

## Slide 12: Developments since last meeting
Change the UI of auto processing pipeline.
(use the SynchWeb of Diamond Light Source as reference .)
4 auto processing method

## Slide 13: Developments since last meeting
Update the BL17B beamline mxcube to the latest version from 2022.2 to 2024.10.
1.The file structure is clearer.
Old version
New version
2. The front-end has not changed much, and features will be added later as needed.

## Slide 14: Developments since last meeting
Change the UI of mxcube to prepare for the integration of Flex sample changer
puck number increased to 37
React component may stuck when loading
Mount sample by type the puck and
smaple ID

## Slide 15: Developments since last meeting
ISPyB...

## Slide 16: Plans for the next six months
Install FLEX-ED35 from Arinax at BL19U1.
Complete the configuration of ISPyB and connect the database with MXCuBE.
Complete the function of automatic sample mounting, centering and collection.
FLEX-ED35

## Slide 17
Thank you for your attention!
Acknowledgments:
- Shanghai Sychrontron Radiation Facility
- Mikel Eguiraun and Jie Nan from MAX IV
- Letícia G. Capovilla from LNLS
- Arinax, Dectris, Rigaku, Irelec
- MXCube community.