## Slide 1: Mastering Gerchberg-Saxton Phase Retrieval: Toward Low-Latency Spatio-Spectral Metrology for High-Stability Lasers (WP14)
CLPU, CNR (INO Pisa), CNRS (IJClab, LULI), ELI-BL , UKRI
with Amplitude and Thales
Slava Smartsev

## Slide 2
2
Introduction

## Slide 3: Introduction
S. Smartsev for WP14 | 25 03 2026 | CNRS - IJClab
PACRI WP14 Objective: Achieving extreme focal spot stability (pointing: 0.1 µrad, Strehl ratio: 3%)
The Ideal Measurement: Simple, single shot, reliable, in-situ, and real-time
The Stability Roadmap: Bridging passive design and active high-speed feedback loops
Facility Implementation: Current diagnostics, Gershberg-Saxton, challenges, and future directions

## Slide 4
Our facility: LaseriX - IJClab

## Slide 5: Laser injection focalisation module (LIF)
laser diags
60 mm
Laser on target: ~1J (-> 1.5J) ~40 fs @ 1Hz (-> 10 Hz)
Electrons: ~150 Mev ~50 pC

## Slide 6: Laser diagnostics
LSM

## Slide 7: Laser diagnostics – focal spot

## Slide 8
Gerchberg-Saxton phase retrieval

## Slide 9: Few words about Gerchberg-Saxton
Originally for crystallography
Ideal for Fourier relation: FF-NF
Image: https://www.physics.ucla.edu/research/imaging/research_CDI.html
Gerchberg, R. W., Saxton, W. O. Optik. 35: 237–246 (1972)
J. R. Fienup, "Phase retrieval algorithms: a comparison," Appl. Opt. 21, 2758-2769 (1982)

## Slide 10: Works also for Fractional FFT or Fresnel regime
measured intensities
z=-z0
z=0
Start at z=-z0 and some phase guess
propagate to z=-z0
propagate to z=0
force the measured intensity
keep the phase
force the measured intensity
keep the phase

## Slide 11
Experimental results: LBP

## Slide 12: Experimental GS phase retrieval LBP
Raw images
processed amplitudes: ready for GS
Retrieved phase
Error vs iterations

## Slide 13: Experimental GS phase retrieval LBP
Measured NF
Far Field (FF)
retrieved from GS FF
Near Field (NF)

## Slide 14
Experimental results: FF

## Slide 15: Experimental GS phase retrieval FF
Processed Amplitudes Triplet
Measured NF
Retrieved LBP NF
Retrieved NF
Far Field (FF)

## Slide 16: Compare Zernike for two cases
As expected, low order Zernike are different, surprisingly high order Zernike are similar!

## Slide 17
Future research directions

## Slide 18: Advanced GS - IMPALA
3 planes GS is not ideal: how to improve?
Special aperiodic mask allows phase (and amplitude) using only 1 plane intensity measurement
S. Smartsev et al, Opt. Lett. 49, 1900-1903 (2024)
J. Esslinger et al, Spatio-temporal characterization of a petawatt laser using deterministic speckle patterns (2026 – in review)

## Slide 19: Toward real-time wavefront measurement device
Research of hardware and algorithm implementation for single shot, low-latency prototype (aiming to 10-50 Hz)
Challenges toward first prototype:
  Mask alignment / calibration
  Finite dynamic range (10-12 bit)
Advantages:
  in-situ
  scalable
  access to spectrally resolved phase (STC)
  attenuation without aberrations
Simulation: low bandwidth beam
Work in progress!

## Slide 20
Summary

## Slide 21: Summary
  Our spatial phase diagnostics (in a hurry)
  Basics of Gerchberg-Saxton phase retrieval
  Experimental retrievals (too much aberrations)
  Future research direction toward single shot, low-latency phase retrieval device
  If works: active wavefront correction
Obrigado!

## Slide 22
Extra

## Slide 23: CNRS : Focal spot stabilisation
PALLAS LPA injector line as a test facility for technological bricks for EuPRAXIA
top view of PALLAS LPA beamline
laser diagnostics all operating at high energy (except direct focus)
spatial: WFS, beamprofile (NF, FF), direct focus (up to 200mJ) , MSCCD
temporal: FrogFS, D-Shot
Spatio-spectral: MSCCD 2x2D spectrometers
laser focalisation module
OAP
last mirror / diags leak
active steering mirror
plasma module
electron characterisation beamline